## Blad1
PS 25-45-65-85 ECD
Saey referentie | code | omschrijving NDL | omschrijving FRA | omschrijving ENG
8730001610 | 8500002020 | PRESSIOSTAAT PA35 | PRESSOSTAT PA35 | PRESSOSTAT PA35
9730044000 | 8500008000 | MANTEL PS/PN 25 FOX 21 | HABILLAGE PS/PN 25 FOX 21 | COVER PS 25
9730044010 | 8500008010 | MANTEL PS/PN 45 FOX 35 | HABILLAGE PS/PN 45 FOX 35 | COVER PS 45
9730044020 | 8500008020 | MANTEL PS/PN 65 FOX 52 | HABILLAGE PS/PN 65 FOX 65 | COVER PS 65
9730044030 | 8500008030 | MANTEL PS/PN 85 | HABILLAGE PS/PN 85 | COVER PS 85
9730044040 | 8500008250 | BOV. ACHTERZ FOX 21/POST 25 | PART.SUP.ARR. FOX21/POST 25 | UPPER BACK PART FOX21/POST 25
9730044050 | 8500008255 | BOV. ACHTERZ FOX 35/POST 45 | PART.SUP.ARR. FOX35/POST 45 | UPPER BACK PART FOX35/POST 45
9730044060 | 8500008260 | BOV. ACHTERZ FOX 52/POST 65 | PART.SUP.ARR. FOX52/POST 65 | UPPER BACK PART FOX52/POST 65
9730044070 | 8500008265 | BOV. ACHTERZ POST 85 | PART.SUP.ARR. POST 85 | UPPER BACK PART POST 85
9730044080 | 8500008270 | SCHOKDEM.BOV.ACHT.MANT. | ANTIVIBR.PART.SUP.ARR. 10 pcs | ANTIVIBR.BACK UPPER PART. 10 PCS
9730044090 | 8500008275 | LUIKJE MET SCHARNIEREN | PETIT VIOLET A CHARN. | SMALL SHUTTER WITH HINGES
9730044100 | 8500008280 | 2 BOVENZIJWANDEN FOX/POST | 2 COTES LAT.SUP FOX/POST | 2 UPPER SIDES FOX/POST
9730044110 | 8500008285 | 2 ONDERZIJWANDEN FOX/POST | 2 COTES LAT.INF. FOX/POST | 2 SIDES UNDER FOX/POST
9730044120 | 8500008290 | 2 ZIJWANDEN FOX/POSTER | 2 COTES LAT INT. FOX/POSTER | 2 SIDES FOX/POST
9730044130 | 8500008300 | ROOSTER NEW-FOX 21/POST 25 | GRILLE NEW FOX 21/POSTER 25 | GRID NEW FOX 21/POSTER 25
9730044140 | 8500008305 | ROOSTER NEW-FOX 35/POST 45 | GRILLE NEW FOX 35/POSTER 45 | GRID NEW FOX 35/POSTER 45
9730044150 | 8500008310 | ROOSTER NEW-FOX 52/POST 65 | GRILLE NEW FOX 52/POSTER 65 | GRID NEW FOX 52/POSTER 65
9730044160 | 8500008315 | ROOSTER NEW-POSTER 85 | GRILLE NEW POSTER 85 | GRID NEW POSTER 85
9730044170 | 8500008320 | BOVEND. VOOR FOX 21/POST 25 | PART.SUP.DEV. FOX 21/POST 25 | UPPER FRONT PART FOX 21/POST 25
9730044180 | 8500008325 | BOVEND. VOOR FOX 35/POST 45 | PART.SUP.DEV. FOX 35/POST 45 | UPPER FRONT PART FOX 35/POST 45
9730044190 | 8500008330 | BOVEND. VOOR FOX 45/POST 65 | PART.SUP.DEV. FOX 52/POST 65 | UPPER FRONT PART FOX 52/POST 65
9730044200 | 8500008335 | BOVEND. VOOR POST 85 | PART.SUP.DEV. POST 85 | UPPER FRONT PART POST 85
9730044210 | 8500008340 | MIDDEND. VOOR FOX 21/POST 25 | PART.CENTR.DEV. FOX21/POST25 | MIDDLE FRONT PART FOX 52/POST 65
9730044220 | 8500008345 | MIDDEND. VOOR FOX 35/POST 45 | PART.CENTR.DEV. FOX35/POST45 | MIDDLE FRONT PART FOX35/POST45
9730044230 | 8500008350 | MIDDEND. VOOR FOX 52/POST 65 | PART.CENTR.DEV. FOX52/POST65 | MIDDLE FRONT PART FOX52/POST65
9730044240 | 8500008355 | MIDDEND. VOOR POST 85 | PART.CENTR.DEV. POST 85 | MIDDLE FRONT PART POST 85
9730044250 | 8500008360 | ONDERD.VOOR FOX 21/POST 25 | PART.INF.DEVANT FOX21/POST25 | LOWER FRONT PART FOX 52/POST 65
9730044260 | 8500008365 | ONDERD.VOOR FOX 35/POST 45 | PART.INF.DEVANT FOX35/POST45 | LOWER FRONT PART FOX35/POST45
9730044270 | 8500008370 | ONDERD.VOOR FOX 52/POST 65 | PART.INF.DEVANT FOX52/POST65 | LOWER FRONT PART FOX52/POST65
9730044280 | 8500008375 | ONDERD.VOOR POST 85 | PART.INF.DEVANT POST 85 | LOWER FRONT PART POST 85
9730044290 | 8500008380 | 2 KAPJES ZIJWAND. FOX/POSTER | 2 CAPOTS COTES LAT. FOX/POST | 2 SIDECAPS
9730044450 | 8500001000 | VERB.ST.SUPPORT INSPUITER | RACCORD SUPP INJECT | CONNECTION SUPP INJECTOR
9730044490 | 8500007050 | VERB.ST.MET ANTIRUISFILTER | RACCORD FILTRE REDUCT.BRUIT | CONNECTION WITH FILTER ANTI RUSTLE
9730044500 | 8500007000 | BEWEEGBARE STEKKERBUS | PRISE DE COURANT MOBILE | MOVABLE SOCKET
9730044510 | 8500000940 | ZEKERING 1A | FUSIBLE 1A | FUSE 1A 10 PCS
9730044610 | 8500001600 | RECHT VERB.ST.3/8"-8 | RACCORD DROIT VALVE 3/8"-8 | CONNECTION FOR VALVE 3/8"-8
9730044620 | 8500001560 | MEETNIPPEL GASDRUK | NIPPLE A MESURER PRESSION | NIPPLE MEASURING PRSSURE
9730045000 | 8500000520 | KIJKVENSTER ETV/STAND. | REGARD ETV/STAND. | GLAS ECHO
9730045335 | 8500006783 | SET BOUGIES PN | SET BOUGIES PN | SET OF SPARK PLUGS PN
9730045340 | 8500006781 | BOUGIE PN | BOUGIE PN | SPARK PLUG
9730045350 | 8500006770 | PAKKING BOUGIEHOUDER | JOINT SUPPORT BOUGIE | SEALING SPARK PLUG
9730045370 | 8500006840 | KLEMBEUGEL VERBR. VENT. PN | COLLIER FIXATION VENTIL.COMB. | FASTENING BRACE FAN FIX
9730045390 | 8500006710 | O-RING VERB.ST.AF&TOEVOER | BAGUE 'O' RACC.COURB.ALI/DER | O-RING CONN.PART IN-OUTLET
9730045480 | 8500006800 | PRESSOSTAAT PN25/45 | PRESSOSTAT PN25/45 | PRESSURE STABILIZER PN25/45
9730046870 | 80002020 | PRESSOSTAAT PN85+PN65 | PRESSOSTAT PN85+PN65 | PRESSURE STABILIZER PN85
9730045510 | 8500007190 | BRANDER PN25/45 | BRULEUR PN25/45 | BURNER PN25/45
9730045520 | 8500007200 | BRANDER PN65/85 | BRULEUR PN65/85 | BURNER PN65/85
9730045530 | 8500007290 | O-RING SPUITSTUKKAP PN | BAGUE 'O' CAPOT INJECT | O-RING COVER INJECTOR PN
9730045570 | 8500007230 | OMB.SET AARDGAS PS/PN/PA 65 | SET GICLEURS GAZ NAT. PS/PN/PA 65 | SET NATURAL GAS PS/PN/PA 65
9730045580 | 8500007240 | OMB.SET AARDGAS PS/PN/PA 85 | SET GICLEURS GAZ NAT. PS/PN/PA 85 | SET NATURAL GAS PS/PN/PA 85
9730045610 | 8500007270 | OMB.SET PROPAAN PS/PN/PA 65 | SET GICLEURS GAZ PROP. PS/PN/PA 65 | PROPANE SET PS/PN/PA 65
9730045620 | 8500007280 | OMB.SET PROPAAN PS/PN/PA 85 | SET GICLEURS GAZ PROP. PS/PN/PA 85 | PROPANE SET PS/PN/PA 85
9730045780 | 8500002010 | CLIXON VEILIGHEID PS | CLIXON SECURITE PS | SECURITY CLIXON PS
9730045790 | 8500008385 | BEV.PLAAT CLIXON PS25 | PLAQUE CLIXON PS 25 | CONNECTION PLATE CLIXON PS 25
9730045800 | 8500008390 | BEV.PLAAT CLIXON PS45 | PLAQUE CLIXON PS 45 | CONNECTION PLATE CLIXON PS 45
9730045810 | 8500008395 | BEV.PLAAT CLIXON PS65 | PLAQUE CLIXON PS 65 | CONNECTION PLATE CLIXON PS 65
9730045820 | 8500008400 | BEV.PLAAT CLIXON PS85 | PLAQUE CLIXON PS 85 | CONNECTION PLATE CLIXON PS 85
9730045830 | 8500006500 | AFDEKSCH. ACHT. BRAND. PS | PL.ARR.BRULEUR PS | BACK COVERPLATE BURNER PS
9730045840 | 8500008405 | AFDEKSCH. ZIJ BRAND. PS25 | PL.COTE.BRULEUR PS25 | SIDE COVERPLATE BURNER PS25
9730045850 | 8500008410 | AFDEKSCH. ZIJ BRAND. PS45 | PL.COTE.BRULEUR PS45 | SIDE COVERPLATE BURNER PS45
9730045860 | 8500008415 | AFDEKSCH. ZIJ BRAND. PS65 | PL.COTE.BRULEUR PS65 | SIDE COVERPLATE BURNER PS65
9730045870 | 8500008420 | AFDEKSCH. ZIJ BRAND. PS85 | PL.COTE.BRULEUR PS85 | SIDE COVERPLATE BURNER PS85
9730045880 | 8500008100 | VENTILATOR PS 25 | VENTILATEUR PS 25 | FAN PS25
9730045890 | 8500008110 | VENTILATOR PS 45 | VENTILATEUR PS 45 | FAN PS45
9730045900 | 8500008120 | VENTILATOR PS 65 | VENTILATEUR PS 65 | FAN PS65
9730045910 | 8500008130 | VENTILATOR PS 85 | VENTILATEUR PS 85 | FAN PS85
9730045920 | 8500008425 | ACHTERWAND PS25 | DOS PS 25 | BACK PART PS25
9730045930 | 8500008430 | ACHTERWAND PS45 | DOS PS 45 | BACK PART PS45
9730045940 | 8500008435 | ACHTERWAND PS65 | DOS PS 65 | BACK PART PS65
9730045950 | 8500008440 | ACHTERWAND PS85 | DOS PS 85 | BACK PART PS85
9730045960 | 8500008450 | VERBRANDINGSKAMER PS25 | CHAMBRE DE COMB. PS 25 | COMBUSTION CHAMBRE PS25
9730045970 | 8500008455 | VERBRANDINGSKAMER PS45 | CHAMBRE DE COMB. PS 45 | COMBUSTION CHAMBRE PS45
9730045980 | 8500008460 | VERBRANDINGSKAMER PS65 | CHAMBRE DE COMB. PS 65 | COMBUSTION CHAMBRE PS65
9730045990 | 8500009465 | VERBRANDINGSKAMER PS85 | CHAMBRE DE COMB. PS 85 | COMBUSTION CHAMBRE PS85
9730046000 | 8500008470 | VERB.UITLAATBUIS PS25-45 | RACC TUBE SORT. PS | CONNECTION EXHAUST PS
9730046010 | 8500006860 | JOINT BRANDERVENT. PS | JOINT VENT.BRUL. PS | SEALING FAN BURNER PS
9730046020 | 8500006850 | JOINT BOCHT BRANDERVENT.PS | JOINT COURBE VENT.BRUL.PS | SEALING ELBOW FANBURNER PS
9730046030 | 8500008475 | BEVEST. MANTEL PS | RACC.HABILLAGE PS | CONNECTION COVER PS
9730046040 | 8500008480 | BRANDERVENTIULATOR PS | VENTIL.BRULEUR PS | FANBURNER PS
9730046080 | 8500006790 | SILICONEBUISJE | TUBE SILICONE | SILICON TUBE
9730046100 | 8500008500 | 2 BUIZEN AANZUIG/UITL PS25/45 | 2 CONDUIT D'ALI/DERIV. PS25-45 | 2 TUBES PROVISION/EXHAUST PS25/45
9730046110 | 8500008505 | 2 BUIZEN AANZUIG/UITL PS65/85 | 2 CONDUIT D'ALI/DERIV. PS65-85 | 2 TUBES PROVISION/EXHAUST PS65/85
9730046180 | 8500007105 | BRANDER KPL MET +KAP PS 25 | BRULEUR CPL MET+CAP PS 25 | BURNER+COVER NAT.GAS PS 25
9730046190 | 8500007115 | BRANDER KPL MET +KAP PS 45 | BRULEUR CPL MET+CAP PS 45 | BURNER+COVER NAT.GAS PS 45
9730046200 | 8500007120 | BRANDER KPL MET+ KAP PS 65 | BRULEUR CPL MET+CAP PS 65 | BURNER+COVER NAT.GAS PS 65
9730046210 | 8500007130 | BRANDER KPL MET+KAP PS 85 | BRULEUR CPL MET+CAP PS 85 | BURNER+COVER NAT.GAS PS 85
9730046220 | 8500007145 | BRANDER KPL PROP+KAP PS25 | BRULEUR CPL PROP+CAP PS 25 | BURNER+COVER PROP.GAS PS 25
9730046230 | 8500007155 | BRANDER KPL PROP+KAP PS45 | BRULEUR CPL PROP+CAP PS 45 | BURNER+COVER PROP.GAS PS 45
9730046240 | 8500007160 | BRANDER KPL PROP+KAP PS65 | BRULEUR CPL PROP+CAP PS 65 | BURNER+COVER PROP.GAS PS 65
9730046250 | 8500007170 | BRANDER KPL PROP+KAP PS85 | BRULEUR CPL PROP+CAP PS 85 | BURNER+COVER PROP.GAS PS 85
9730046260 | 8500007215 | OMB.SET METHAAN PS 25 | SET GICLEURS METH PS 25 | NATURAL GAS SET PS 25
9730046270 | 8500007225 | OMB.SET METHAAN PS 45 | SET GICLEURS METH PS 45 | NATURAL GAS SET PS 45
9730046280 | 8500007255 | OMB.SET PROPAAN PS 25 | SET GICLEURS PROP PS 25 | PROPANE SET PS 25
9730046290 | 8500007265 | OMB.SET PROPAAN PS 45 | SET GICLEURS PROP PS 45 | PROPANE SET PS 45
9730046300 | 8500007300 | BRANDERKAP PS | CAP. BRULEUR PS | COVER BURNER PS
9730046320 | 8500007180 | VERB.BRANDER-GASBLOK PS | TUBE BRULEUR-VALVE PS | CONNECTION BURNER-VALVE PS
9730046350 | 8500007090 | VERB.ST.GASTOEVOER | RACCORD D'ALIMENT. EN GAZ | CONNECTION PROVISION GAS
9730046430 | 8500001816 | THERM.VOELER PS NM | BULBE THERMOSTAT PS NM | CAPILLARY PS NEW MODEL
9730046460 |  | WATERVERDAMPER ST/ETV21-PN 25 | HUMIDIFICATEUR ST/ETV21-PN 25 | HUMIDIFIER ST/ETV-PN25
9730046470 |  | WATERVERDAMPER ST/ETV35-PN 45 | HUMIDIFICATEUR ST/ETV35-PN 45 | HUMIDIFIER ST/ETV35-PN45
9730046480 |  | WATERVERDAMPER ST/ETV52-PN 65 | HUMIDIFICATEUR ST/ETV52-PN 65 | HUMIDIFIER ST/ETV52-PN65
9730046490 |  | WATERVERDAMPER ST/ETV52-PN 65 | HUMIDIFICATEUR ST/ETV52-PN 65 | HUMIDIFIER ST/ETV52-PN65
9730046500 | ITK80009920 | PRINTPLAAT | CARTE DE CIRCUIT IMPRIME | CIRCUIT BOARD
9730046510 | 8500007335 | SOLENOID GASKLEP | VALVE DE GAZ SOLENOIDE | SOLENOID VALVE UNIT WITH FITTING
9730046520 | 8500007325 | CONTROLEBORD / PRINTPLAAT ECD | PANNEAU DE CONTROLE ECD | EXTERNAL ELECT. CONTROL BOARD
9730046530 | 8500006783 | START & DETECTIE ELECTRODE | ELECTRODE DE DEPART & DETECTION | STARTING & DETECTION ELECTRODE
9730046540 | 8500007321 | KABEL VR DIGIT.THERMOST.+BATT | CABLE POUR THERMOST DIGITALE + BATT | CABLE FOR DIG.THERMOSTAT + BATTERIES
9730046550 | 8500007322 | CABLAGE KIT CPL | KIT DE CABLAGE CPL | CABLING KIT CPL

## Blad2
#REF! | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!